##### EXHIBIT A

##### SECTION 102

PERMITS AND SCOPE OF REGULATIONS

102.1 Permit required.  It is hereby required that a permit be obtained in advance and all other requirements of this ordinance be complied with whenever a building or structure, or parts or appurtenances thereof, such as water supply, sewage disposal, plumbing installation, electrical installation, and heating equipment, located outside the limits of cities and villages of this county and regulated by this ordinance, is erected, installed, altered, converted, remodeled, reroofed, structurally repaired, moved, or changed. A permit shall also be required for demolitions of existing buildings. This permit requirement shall not apply to residential sheds and other storage structures containing 100 square feet of area or less.

102.2 Demolition of existing structures.

102.2.1 Condition of property upon completion.  In addition to any other reasonable conditions which the Building Officer may impost upon a permit issued to demolish a structure, the permit shall be conditioned upon the complete disposal of all debris resulting from the demolition and a restoration of the site appropriate to grade with stabilized soils.

102.2.2 Foundations.  Building demolition shall include the removal of any foundations for such buildings.

102.2.3 Final inspection.  Upon the completion of the demolition, removal of debris and complete stabilization of the ground, the permit holder shall request a final inspection.  If all work is satisfactorily completed the final inspection will certify approval with the requirements of this ordinance.

102.3 Maintenance.  All buildings and structures, and parts and appurtenances thereof, both existing and hereafter erected or installed, shall be maintained that the occupants and users thereof and others are reasonably safe from the hazards of fire, explosion and collapse.  If found not so maintained, the necessary corrective work, repair, replacement or removal may be ordered.

102.4 Minimum requirements.  These rules and regulations set forth requirements, which are considered reasonable and are held in every instance to be the minimum for the promotion of public health, safety, and general welfare.

102.5 Legal Lot.  No building permit as required by this ordinance shall be issued for a building to be constructed on any lot, piece, parcel or tract of land that does not conform with provisions of Lake County Unified Development Ordinance and the Illinois Plat Act, 765 ILCS 205/1 et seq.